### Hyperbaric Medicine Service

### HYPERBARIC FACILITY cleaning PROCEDURES for Environmental services staff

The following is the list of daily cleaning responsibilities for Environmental Services:

Damp high and low dusting

General spot cleaning of vertical surfaces (walls, cabinet doors)

General disinfecting of countertop surfaces, appliances

Waste removal

Dirty linen removal

Disinfecting of all sinks and toilet with hospital approved disinfectant

Damp mop floor surfaces with hospital approved disinfectant

IMPORTANT Hyperbaric chambers operate on 100% oxygen under pressure. Extreme fire risk if mishandled!

# Use caution when cleaning the floor surrounding chambers so not to interfere with it’s hoses, cables and exhaust at rear of chamber.  Please keep flammable materials and liquids like lighters and

# alcohol away from chamber. Only products approved by the chamber manufacturer

# to clean the chamber are allowed otherwise it may damage the acrylic window and paint.

Only the hyperbaric clinical staff will use ____________________________disinfectant on chamber surfaces.

## __________________________________________		________________________________

## Hyperbaric Medicine Safety Director				Date/Phone

## __________________________________________		________________________________

Environmental Services Manager 				Date/Phone

Environmental Services staff will not be responsible for cleaning the Hyperbaric Chambers.

I have read the above instructions and received training on the proper handling and cleaning of the Hyperbaric Medicine Service. I understand I am not to clean the chamber(s).

Date of Training                                Employee Name                      	                     	Signature

One copy maintained in HBO dept and one copy maintained in E.S.

This documentation is required according to NFPA 99 14.3.6.4